## Instructions for use
This spreadsheet is designed to assist with deciding how to pool samples when more than one pool is required, and with normalising input into pools according to sample concentration.
Ct values from the qPCR experiment described in the SOP are used as input, along with any other relevant information you wish to use to determine sample assignment to pools (replicate, case/control, mut/WT etc).
Step 1:
In the "Library assignment" tab, add sample name and Ct value information into the green cells. If additional information will be used to assign samples to pools, include this in the "sample notes" cells.
If experiment contains more than 8 samples, add extra samples below and add rows to the summary in columns H-Q according to the same format.
This sheet will rank samples for each dilution according to concentration, to assist with assigning samples to pools.
*the ranking should be similar for both dilutions tested, although if the Ct values are very close there may be some switching of positions.
If there are large discrepancies between the ranking for the two dilutions the assay should be repeated, taking care to pipette accurately and carefully.
Step 2:
Your preferred strategy for assigning samples to pools will depend on your particular experiment:
- If you wish to compare results from all samples in your sequencing run, you may wish to ensure all pools are of approximately equal concentrations, and will therefore require the same number of PCR cycles.
In this case, assign the highest concentration samples to different pools, and then populate the remainder of the pools according to whichever parameter makes the most sense for your experiment
(e.g. split up case and control samples, replicates etc).
However, this may result in you using only a small proportion of some of the higher-concentration samples.
- If your samples are from multiple experiments, and the concentrations of your samples are different between experiments, you may wish to pool by experiment to avoid discarding the majority of some samples
and therefore needing to perform unnecessary extra PCR cycles.
- If you have multiple replicates, you may wish to ensure that each replicate is in a different pool to reduce the possibility of batch effects.
The example in this spreadsheet aims to maximise sample input into pools, therefore pooling the highest concentration samples together, and the lowest concentration samples together,
likely resulting in the need for a different number of PCR amplification cycles for each pool.
Once you have decided on your optimal pooling strategy, transfer the sample and Ct information for the samples in the first pool to the green cells in the 'Pool group 1' tab
Copy the sample name and Ct value of the sample with the highest Ct value (lowest concentration) into the green cells in column M and P.
If pooling more than 4 samples/pool, add extra samples below and add rows to the relative quant table in columns I-S according to the same format.
This sheet will calculate the volume of each sample required for normalising the quantity of each sample in the pool.
Repeat this calculation using a separate tab for each pool, until all your samples are included in a pool.

## Library assignment
Summary and rank highest to lowest concentration:
Dilution | Sample | CT | Ct Mean | Ct SD | Ct Threshold | Sample | Dilution | Ct Mean | Rank | Dilution | Ct Mean | Rank | Sample notes
1/100 | CAG-002_DNA_009 | 20.4573 | 20.2358 | 0.24853 | 0.223 | CAG-002_DNA_009 | 1/100 | 20.2358 | 7 | 1/500 | 22.6478 | 5 | case
1/100 | CAG-002_DNA_009 | 20.2832 | 20.2358 | 0.24853 | 0.223 | CAG-002_DNA_010 | 1/100 | 22.0516 | 8 | 1/500 | 24.9812 | 8 | control
1/100 | CAG-002_DNA_009 | 19.967 | 20.2358 | 0.24853 | 0.223 | CAG-002_DNA_011 | 1/100 | 20.1247 | 6 | 1/500 | 23.2548 | 7 | control
1/500 | CAG-002_DNA_009 | 22.6014 | 22.6478 | 0.045704 | 0.223 | CAG-002_DNA_012 | 1/100 | 19.9867 | 5 | 1/500 | 22.7621 | 6 | case
1/500 | CAG-002_DNA_009 | 22.6493 | 22.6478 | 0.045704 | 0.223 | CAG-002_DNA_013 | 1/100 | 19.2306 | 4 | 1/500 | 21.7365 | 4 | case
1/500 | CAG-002_DNA_009 | 22.6928 | 22.6478 | 0.045704 | 0.223 | CAG-002_DNA_014 | 1/100 | 18.9088 | 2 | 1/500 | 21.5582 | 3 | case
[6 empty] | CAG-002_DNA_015 | 1/100 | 19.1425 | 3 | 1/500 | 21.2534 | 2 | control
1/100 | CAG-002_DNA_010 | 22.1879 | 22.0516 | 0.12949 | 0.223 | CAG-002_DNA_016 | 1/100 | 18.5423 | 1 | 1/500 | 21.13 | 1 | control
1/100 | CAG-002_DNA_010 | 21.9302 | 22.0516 | 0.12949 | 0.223
1/100 | CAG-002_DNA_010 | 22.0365 | 22.0516 | 0.12949 | 0.223 | *the ranking should be similar for both dilutions tested, although if the Ct values are very close there may be some switching of positions.
1/500 | CAG-002_DNA_010 | 24.8801 | 24.9812 | 0.24101 | 0.223 | If there are large discrepancies between the ranking for the two dilutions the assay should be repeated, taking care to pipette accurately and carefully.
1/500 | CAG-002_DNA_010 | 24.8072 | 24.9812 | 0.24101 | 0.223
1/500 | CAG-002_DNA_010 | 25.2563 | 24.9812 | 0.24101 | 0.223
1/100 | CAG-002_DNA_011 | 20.1534 | 20.1247 | 0.14245 | 0.223
1/100 | CAG-002_DNA_011 | 19.97 | 20.1247 | 0.14245 | 0.223
1/100 | CAG-002_DNA_011 | 20.2505 | 20.1247 | 0.14245 | 0.223
1/500 | CAG-002_DNA_011 | 23.4115 | 23.2548 | 0.14748 | 0.223
1/500 | CAG-002_DNA_011 | 23.2342 | 23.2548 | 0.14748 | 0.223
1/500 | CAG-002_DNA_011 | 23.1187 | 23.2548 | 0.14748 | 0.223
1/100 | CAG-002_DNA_012 | 19.98 | 19.9867 | 0.076966 | 0.223
1/100 | CAG-002_DNA_012 | 19.9133 | 19.9867 | 0.076966 | 0.223
1/100 | CAG-002_DNA_012 | 20.0668 | 19.9867 | 0.076966 | 0.223
1/500 | CAG-002_DNA_012 | 22.6565 | 22.7621 | 0.094002 | 0.223
1/500 | CAG-002_DNA_012 | 22.8365 | 22.7621 | 0.094002 | 0.223
1/500 | CAG-002_DNA_012 | 22.7934 | 22.7621 | 0.094002 | 0.223
1/100 | CAG-002_DNA_013 | 19.0527 | 19.2306 | 0.1544 | 0.223
1/100 | CAG-002_DNA_013 | 19.3094 | 19.2306 | 0.1544 | 0.223
1/100 | CAG-002_DNA_013 | 19.3298 | 19.2306 | 0.1544 | 0.223
1/500 | CAG-002_DNA_013 | 21.826 | 21.7365 | 0.077549 | 0.223
1/500 | CAG-002_DNA_013 | 21.6882 | 21.7365 | 0.077549 | 0.223
1/500 | CAG-002_DNA_013 | 21.6955 | 21.7365 | 0.077549 | 0.223
1/100 | CAG-002_DNA_014 | 18.8275 | 18.9088 | 0.15976 | 0.223
1/100 | CAG-002_DNA_014 | 19.0929 | 18.9088 | 0.15976 | 0.223
1/100 | CAG-002_DNA_014 | 18.806 | 18.9088 | 0.15976 | 0.223
1/500 | CAG-002_DNA_014 | 21.6068 | 21.5582 | 0.078126 | 0.223
1/500 | CAG-002_DNA_014 | 21.4681 | 21.5582 | 0.078126 | 0.223
1/500 | CAG-002_DNA_014 | 21.5997 | 21.5582 | 0.078126 | 0.223
1/100 | CAG-002_DNA_015 | 18.9708 | 19.1425 | 0.37303 | 0.223
1/100 | CAG-002_DNA_015 | 18.8863 | 19.1425 | 0.37303 | 0.223
1/100 | CAG-002_DNA_015 | 19.5705 | 19.1425 | 0.37303 | 0.223
1/500 | CAG-002_DNA_015 | 21.2763 | 21.2534 | 0.16051 | 0.223
1/500 | CAG-002_DNA_015 | 21.0827 | 21.2534 | 0.16051 | 0.223
1/500 | CAG-002_DNA_015 | 21.4012 | 21.2534 | 0.16051 | 0.223
1/100 | CAG-002_DNA_016 | 18.4511 | 18.5423 | 0.18451 | 0.223
1/100 | CAG-002_DNA_016 | 18.4211 | 18.5423 | 0.18451 | 0.223
1/100 | CAG-002_DNA_016 | 18.7546 | 18.5423 | 0.18451 | 0.223
1/500 | CAG-002_DNA_016 | 21.144 | 21.13 | 0.03086 | 0.223
1/500 | CAG-002_DNA_016 | 21.1515 | 21.13 | 0.03086 | 0.223
1/500 | CAG-002_DNA_016 | 21.0947 | 21.13 | 0.03086 | 0.223

## Pool group1
LIBRARY NAME: | [6 empty] | RELATIVE QUANT
Dilution | Sample | CT | Ct Mean | Ct SD | Ct Threshold
[7 empty] | Sample with Highest Ct value = |  |  | CAG-002_DNA_010 | Ct values: | 1/100 | 22.052 |  | Initial volume = 40uL
1/100 | CAG-002_DNA_009 | 20.4573 | 20.2358 | 0.24853 | 0.223 |  | Results are fold change relative to |  |  | CAG-002_DNA_010 |  | 1/500 | 24.981
1/100 | CAG-002_DNA_009 | 20.2832 | 20.2358 | 0.24853 | 0.223
1/100 | CAG-002_DNA_009 | 19.967 | 20.2358 | 0.24853 | 0.223
1/500 | CAG-002_DNA_009 | 22.6014 | 22.6478 | 0.045704 | 0.223 | [6 empty] | FOLD CHANGE
1/500 | CAG-002_DNA_009 | 22.6493 | 22.6478 | 0.045704 | 0.223 | sample notes |  | 1/100 dilution: |  | 1/500 dilution: |  | AVERAGE: |  | STDEV: |  | Volume for equal pooling (µl):
1/500 | CAG-002_DNA_009 | 22.6928 | 22.6478 | 0.045704 | 0.223 |  |  | Delta Ct | Fold change | Delta Ct | Fold change
[6 empty] | case | CAG-002_DNA_009 | -1.8162 | 3.5214 | -2.3332 | 5.0391 | 4.2803 |  | 0.75885 |  | 9.3452
1/100 | CAG-002_DNA_010 | 22.1879 | 22.0516 | 0.12949 | 0.223 | ctrl | CAG-002_DNA_010 | -0.00043292 | 1.0003 | 0.00018019 | 0.99988 | 1.0001 |  | 0.00021251 |  | 39.9965
1/100 | CAG-002_DNA_010 | 21.9302 | 22.0516 | 0.12949 | 0.223 | ctrl | CAG-002_DNA_011 | -1.9273 | 3.8035 | -1.7262 | 3.3085 | 3.556 |  | 0.24752 |  | 11.2485
1/100 | CAG-002_DNA_010 | 22.0365 | 22.0516 | 0.12949 | 0.223 | case | CAG-002_DNA_012 | -2.0653 | 4.1852 | -2.2189 | 4.6553 | 4.4202 |  | 0.23509 |  | 9.0493
1/500 | CAG-002_DNA_010 | 24.8801 | 24.9812 | 0.24101 | 0.223
1/500 | CAG-002_DNA_010 | 24.8072 | 24.9812 | 0.24101 | 0.223
1/500 | CAG-002_DNA_010 | 25.2563 | 24.9812 | 0.24101 | 0.223
1/100 | CAG-002_DNA_011 | 20.1534 | 20.1247 | 0.14245 | 0.223
1/100 | CAG-002_DNA_011 | 19.97 | 20.1247 | 0.14245 | 0.223
1/100 | CAG-002_DNA_011 | 20.2505 | 20.1247 | 0.14245 | 0.223
1/500 | CAG-002_DNA_011 | 23.4115 | 23.2548 | 0.14748 | 0.223
1/500 | CAG-002_DNA_011 | 23.2342 | 23.2548 | 0.14748 | 0.223
1/500 | CAG-002_DNA_011 | 23.1187 | 23.2548 | 0.14748 | 0.223
1/100 | CAG-002_DNA_012 | 19.98 | 19.9867 | 0.076966 | 0.223
1/100 | CAG-002_DNA_012 | 19.9133 | 19.9867 | 0.076966 | 0.223
1/100 | CAG-002_DNA_012 | 20.0668 | 19.9867 | 0.076966 | 0.223
1/500 | CAG-002_DNA_012 | 22.6565 | 22.7621 | 0.094002 | 0.223
1/500 | CAG-002_DNA_012 | 22.8365 | 22.7621 | 0.094002 | 0.223
1/500 | CAG-002_DNA_012 | 22.7934 | 22.7621 | 0.094002 | 0.223

## Pool group2
LIBRARY NAME: | [6 empty] | RELATIVE QUANT
Dilution | Sample | CT | Ct Mean | Ct SD | Ct Threshold
[7 empty] | Sample with Highest Ct value = |  |  | CAG-002_DNA_013 | Ct values: | 1/100 | 19.231 |  | Initial volume = 40uL
1/100 | CAG-002_DNA_013 | 19.0527 | 19.2306 | 0.1544 | 0.223 |  | Results are fold change relative to |  |  | CAG-002_DNA_013 |  | 1/500 | 21.737
1/100 | CAG-002_DNA_013 | 19.3094 | 19.2306 | 0.1544 | 0.223
1/100 | CAG-002_DNA_013 | 19.3298 | 19.2306 | 0.1544 | 0.223
1/500 | CAG-002_DNA_013 | 21.826 | 21.7365 | 0.077549 | 0.223 | [6 empty] | FOLD CHANGE
1/500 | CAG-002_DNA_013 | 21.6882 | 21.7365 | 0.077549 | 0.223 | sample notes |  | 1/100 dilution: |  | 1/500 dilution: |  | AVERAGE: |  | STDEV: |  | Volume for equal pooling (µl):
1/500 | CAG-002_DNA_013 | 21.6955 | 21.7365 | 0.077549 | 0.223 |  |  | Delta Ct | Fold change | Delta Ct | Fold change
[6 empty] | case | CAG-002_DNA_013 | -0.00035768 | 1.0002 | -0.00045253 | 1.0003 | 1.0003 |  | 3.2881e-05 |  | 39.9888
1/100 | CAG-002_DNA_014 | 18.8275 | 18.9088 | 0.15976 | 0.223 | case | CAG-002_DNA_014 | -0.32221 | 1.2502 | -0.17881 | 1.132 | 1.1911 |  | 0.059147 |  | 33.5825
1/100 | CAG-002_DNA_014 | 19.0929 | 18.9088 | 0.15976 | 0.223 | ctrl | CAG-002_DNA_015 | -0.088496 | 1.0633 | -0.4836 | 1.3982 | 1.2307 |  | 0.16748 |  | 32.5007
1/100 | CAG-002_DNA_014 | 18.806 | 18.9088 | 0.15976 | 0.223 | ctrl | CAG-002_DNA_016 | -0.68873 | 1.6119 | -0.60697 | 1.5231 | 1.5675 |  | 0.0444 |  | 25.519
1/500 | CAG-002_DNA_014 | 21.6068 | 21.5582 | 0.078126 | 0.223
1/500 | CAG-002_DNA_014 | 21.4681 | 21.5582 | 0.078126 | 0.223
1/500 | CAG-002_DNA_014 | 21.5997 | 21.5582 | 0.078126 | 0.223
1/100 | CAG-002_DNA_015 | 18.9708 | 19.1425 | 0.37303 | 0.223
1/100 | CAG-002_DNA_015 | 18.8863 | 19.1425 | 0.37303 | 0.223
1/100 | CAG-002_DNA_015 | 19.5705 | 19.1425 | 0.37303 | 0.223
1/500 | CAG-002_DNA_015 | 21.2763 | 21.2534 | 0.16051 | 0.223
1/500 | CAG-002_DNA_015 | 21.0827 | 21.2534 | 0.16051 | 0.223
1/500 | CAG-002_DNA_015 | 21.4012 | 21.2534 | 0.16051 | 0.223
1/100 | CAG-002_DNA_016 | 18.4511 | 18.5423 | 0.18451 | 0.223
1/100 | CAG-002_DNA_016 | 18.4211 | 18.5423 | 0.18451 | 0.223
1/100 | CAG-002_DNA_016 | 18.7546 | 18.5423 | 0.18451 | 0.223
1/500 | CAG-002_DNA_016 | 21.144 | 21.13 | 0.03086 | 0.223
1/500 | CAG-002_DNA_016 | 21.1515 | 21.13 | 0.03086 | 0.223
1/500 | CAG-002_DNA_016 | 21.0947 | 21.13 | 0.03086 | 0.223